## Simulated data
| 2a) | Consider, if Absolute Limits are suitable
f
|  | Eq. 4-5: | 1 | 1.829
|  |  | 1 | 0.40825
| 3) | %AL, Eq. 4-8 |  | 16 | (in %)
|  | s(MW) |  | 0.6532
|  | %AL |  | 26.1279
Simul
[8 empty] | true mean | 101 | 100.5
[8 empty] | trueSD | 1.5 | 1.7
[9 empty] | Lab1 | Lab2
0.2025 | -0.72996 | 1.0464 |  | -0.35376 | -0.23364 | 1.5741 | 0.20917 |  | 103.3612 | 100.8556 | n=6 each
0.076049 | -1.4155 | -1.2404 |  | -2.1589 | -0.41719 | -0.90689 | -0.33586 |  | 99.6397 | 99.929
0.74816 | 0.67827 | -0.6375 |  | -1.1688 | -0.62749 | 0.78629 | 0.10301 |  | 102.1794 | 100.6751
-0.97123 | -2.1113 | 1.0208 |  | -1.6036 | -0.015683 | -0.019074 | 0.21707 |  | 100.9714 | 100.869
-0.88158 | -0.11456 | -0.68291 |  | 0.60849 | 0.58723 | -0.79894 | -0.66285 |  | 99.8016 | 99.3732
0.27242 | -0.5747 | -0.052005 |  | -0.85448 | 1.0555 | -0.7383 | 2.239 |  | 99.8926 | 104.3064
1.0037 | 0.2744 | 1.5604 |  | 0.42769 | -0.70292 |  |  |  | 100.97 | 101
-0.26853 | 0.68167 | -1.6955 |  | -0.67922 | 0.75893 |  |  |  | 1.52 | 1.72
0.19753 | 1.3409 | -0.14852 |  | 0.58904 | 0.19942 |  |  |  | 1.505% | 1.703%
0.64602 | 0.57528 | -2.3666 |  | -1.0576 | 0.19347
-0.34256 | 0.77322 | -0.29046 |  | -0.53639 | -0.26705 |  |  | repeatability |  | 1.61%
[8 empty] | reproducibility |  | 1.61%
[8 empty] | s(MW) |  | 0.0065728 | 0.021213
Note on F11: Prof.Dr. Hermann Wätzig: Berechn mit default value f s(MW)
Note on F13: Prof.Dr. Hermann Wätzig: Da Formel F6 eine Darstellung von s(MW) * Skalierungsfaktor ist
Note on F8: Prof. Dr. Hermann Wä: square root term only

## Example 1
person | A | B |  | C | D
date | 2012-09-11 | 2012-09-11 |  | 2012-09-13 | 2012-09-13
lab | 1 | 1 |  | 2 | 2
LC content (%) as is, API
1 | 98.37 | 97.94 |  | 97.84 | 96.73
2 | 98.11 | 98.42 |  | 97.74 | 96.5
3 | 98.18 | 98.11 |  | 96.51 | 96.79
4 | 98.3 | 98.06 |  | 97.3 | 96.97
5 | 98.24 | 97.79 |  | 97.2 | 96.65
6 | 98.02 | 96.64 |  | 95.79 | 97.15
MW | 98.2033 | 97.8267 |  | 97.0633 | 96.7983 |  | 0.65357 | SD MW all series
variance | 0.016267 | 0.38183 |  | 0.61267 | 0.053777 |  | 0.070939 | variance MW 1st lab only
RSD | 0.1299% | 0.6316% |  | 0.8064% | 0.2396% |  | 0.035113 | variance MW 2nd lab only
[7 empty] | 0.053026 | pooled variance
|  | variance | SD | RSD |  |  | 0.23027 | SD corresp. to pooled variance
repeatability |  | 0.26613 | 0.51588 | 0.5293%
reproducibility |  | 0.64893 | 0.80556 | 0.8264% |  |  | 9.2109 | %AL
f |  |  | 1.5615
max. difference (Eq. 4-4) |  | 1.83
limit indiv. repeatab. |  | 1.106%
%AL |  | 26.1429
| 2a) | Consider, if Absolute Limits are suitable
|  |  | f (see Eq. 4-5) |  |  | Difference of lab means
|  | Eq. 4-5: | 1.4 | 1.57 |  | 1.08
|  | (( | 1.4 | 1.0614 | ))
Note on E43: Prof. Dr. Hermann Wä: square root term only

## Example 2
person | A | B |  | C | D
lab | 1 | 1 |  | 2 | 2
LC content (%) as is, API
1 | 100.68 | 99.85 |  | 100.9 | 99.84
2 | 100.15 | 100.08 |  | 100.32 | 99.92
3 | 100.91 | 100.26 |  | 100.24 | 99.67
4 | 100.29 | 100.59 |  | 100.45 | 99.69
5 | 100.47 | 100.17 |  | 99.42 | 100.01
6 | 100.08 | 100.68 |  | 100.25 | 100.08
MW | 100.43 | 100.2717 |  | 100.2633 | 99.8683 |  | 0.23929 | SD MW all series
variance | 0.103 | 0.098617 |  | 0.23107 | 0.027897 |  | 0.012535 | variance MW 1st lab only
RSD | 0.3196% | 0.3132% |  | 0.4794% | 0.1672% |  | 0.078012 | variance MW 2nd lab only
[7 empty] | 0.045274 | pooled variance
|  | variance | SD | RSD |  |  | 0.21278 | SD corresp. to pooled variance
repeatability |  | 0.11515 | 0.33933 | 0.3386%
reproducibility |  | 0.15321 | 0.39142 | 0.3906% |  |  | 8.511 | %AL
f |  |  | 1.1535
max. difference (Eq. 4-4) |  | 0.67
limit indiv. repeatab. |  | 0.7075%
%AL |  | 9.5714
| 2a) | Consider, if Absolute Limits are suitable
|  |  | f (see Eq. 4-5) |  |  | Difference of lab means
|  | Eq. 4-5: | 1.4 | 1.01 |  | 0.28

## Example 3
person | A | B |  | C | D
lab | 1 | 1 |  | 2 | 2
LC content (%) as is, API
1 | 99.47 | 99.79 |  | 99.95 | 99.42
2 | 99.62 | 99.74 |  | 99.92 | 99.34
3 | 99.37 | 99.58 |  | 100.04 | 99.53
4 | 99.31 | 99.75 |  | 99.89 | 98.82
5 | 99.53 | 99.54 |  | 99.83 | 99.38
6 | 100.21 | 99.62 |  | 99.81 | 99.42
MW | 99.585 | 99.67 |  | 99.9067 | 99.3183 |  | 0.24283 | SD MW all series
variance | 0.10599 | 0.01064 |  | 0.0070667 | 0.063617 |  | 0.0036125 | variance MW 1st lab only
RSD | 0.3269% | 0.1035% |  | 0.08414% | 0.254% |  | 0.17307 | variance MW 2nd lab only
[7 empty] | 0.08834 | pooled variance
|  | variance | SD | RSD |  |  | 0.29722 | SD corresp. to pooled variance
repeatability |  | 0.046828 | 0.2164 | 0.2172%
reproducibility |  | 0.097992 | 0.31304 | 0.3142% |  |  | 11.8888 | %AL
f |  |  | 1.4466
max. difference (Eq. 4-4) |  | 0.67994
limit indiv. repeatab. |  | 0.4538%
%AL |  | 9.7134
| 2a) | Consider, if Absolute Limits are suitable
|  |  | f (see Eq. 4-5) |  |  | Difference of lab means
|  | Eq. 4-5: | 1.4 | 0.65 |  | 0.02

## Ex1 Series Equiv.Test
Calculation according to Schuirmann, D.J. 1987. "A Comparison of the Two One-Sided Tests Procedure and the Power Approach for Assessing the Equivalence of Average Bioavailability." J. Pharm. Biopharm., 15: 657-680. The variance was estimated from the "mean square error (Anova)".
For the case that the variances of all samples all equal, degrees of freedeom are nx,1 + nx,2 + ny,1+ ny,2 -4
person | A |  | B |  |  | C |  | D
date | 2012-09-11 |  | 2012-09-11 |  |  | 2012-09-13 |  | 2012-09-13
lab | 1 |  | 1 |  |  | 2 |  | 2
LC content (%) as is, API
|  | ln |  | ln |  |  | ln |  | ln
1 | 98.37 | 4.5887 | 97.94 | 4.5844 |  | 97.84 | 4.5833 | 96.73 | 4.5719
2 | 98.11 | 4.5861 | 98.42 | 4.5892 |  | 97.74 | 4.5823 | 96.5 | 4.5695
3 | 98.18 | 4.5868 | 98.11 | 4.5861 |  | 96.51 | 4.5696 | 96.79 | 4.5725
4 | 98.3 | 4.588 | 98.06 | 4.5856 |  | 97.3 | 4.5778 | 96.97 | 4.5744
5 | 98.24 | 4.5874 | 97.79 | 4.5828 |  | 97.2 | 4.5768 | 96.65 | 4.5711
6 | 98.02 | 4.5852 | 96.64 | 4.571 |  | 95.79 | 4.5622 | 97.15 | 4.5763
MW | 98.2033 | 4.587 | 97.8267 | 4.5832 |  | 97.0633 | 4.5753 | 96.7983 | 4.5726
SD | 0.12754 | 0.0012989 | 0.61792 | 0.0063409 |  | 0.78273 | 0.008084 | 0.2319 | 0.0023948
variance | 0.016267 | 1.687e-06 | 0.38183 | 4.0206e-05 |  | 0.61267 | 6.5351e-05 | 0.053777 | 5.7353e-06
RSD | 0.1299% | 0.02832% | 0.6316% | 0.1384% |  | 0.8064% | 0.1767% | 0.2396% | 0.05237%
directly from data (difference of mean values) | [7 empty] | from log data (quotient of mean values; Eq. 4-9)
s |  | 0.1053 |  | difference | 1.0842 |  |  | s |  | 0.0010848 | difference | 0.011128
degrees of freedom |  | 20 | [5 empty] | degrees of freedom |  | 20
t(1-alpha;v) |  | 1.7247 | [5 empty] | t(1-alpha;v) |  | 1.7247
LCL |  | 0.90255 | [5 empty] | LCL(ln) |  | 0.009257
UCL |  | 1.2658 | [5 empty] | UCL(ln) |  | 0.012999
[8 empty] | LCL |  | 0.93
[8 empty] | UCL |  | 1.3084 | difference of mean values
diagram data
[6 empty] | x | -2.5 | 2.5 | 0.90255 | 1.2658
[6 empty] | y | 1 | 1 | 1.5 | 1.5
quotient of mean values
diagram data
[7 empty] | -2.5 | 2.5 | 0.93 | 1.3084
[7 empty] | 1 | 1 | 1.5 | 1.5
????=(((??_1 ) ̅+(??_2 ) ̅ ))/2−(((??_1 ) ̅+(??_2 ) ̅ ))/2±??_(1−2∙??;??)∙??
????????=((??_1 ) ̅+(??_2 ) ̅)/2−((??_1 ) ̅+(??_2 ) ̅)/2
??=√((((??_(??,1)−1) ??_(??,1)^2)/16+((??_(??,2)−1)??_(??,2)^2)/16+((??_(??,1)−1) ??_(??,1)^2)/16+((??_(??,2)−1)??_(??,2)^2)/16)/(??_(??,1)+??_(??,2)+??_(??,1)+??_(??,2)−4)∙(1/??_(??,1) +1/??_(??,2) +1/??_(??,1) +1/??_(??,2) ) )
??
??

## Ex1 Series Equiv.Test Welch
Calculation according to Schuirmann, D.J. 1987. "A Comparison of the Two One-Sided Tests Procedure and the Power Approach for Assessing the Equivalence of Average Bioavailability." J. Pharm. Biopharm., 15: 657-680. The variance was estimated from the "mean square error (Anova)".
For the case that the variance from the series are not equal: degrees of freedom where approximated by use the Welch- Satterthwaite-Approximation
person | A |  | B |  |  | C |  | D
date | 2012-09-11 |  | 2012-09-11 |  |  | 2012-09-13 |  | 2012-09-13
lab | 1 |  | 1 |  |  | 2 |  | 2 |  |  | Difference between means of labors
LC content (%) as is, API
|  | ln |  | ln |  |  | ln |  | ln
1 | 98.37 | 4.5887 | 97.94 | 4.5844 |  | 97.84 | 4.5833 | 96.73 | 4.5719
2 | 98.11 | 4.5861 | 98.42 | 4.5892 |  | 97.74 | 4.5823 | 96.5 | 4.5695
3 | 98.18 | 4.5868 | 98.11 | 4.5861 |  | 96.51 | 4.5696 | 96.79 | 4.5725
4 | 98.3 | 4.588 | 98.06 | 4.5856 |  | 97.3 | 4.5778 | 96.97 | 4.5744
5 | 98.24 | 4.5874 | 97.79 | 4.5828 |  | 97.2 | 4.5768 | 96.65 | 4.5711
6 | 98.02 | 4.5852 | 96.64 | 4.571 |  | 95.79 | 4.5622 | 97.15 | 4.5763
MW | 98.2033 | 4.587 | 97.8267 | 4.5832 |  | 97.0633 | 4.5753 | 96.7983 | 4.5726
SD | 0.12754 | 0.0012989 | 0.61792 | 0.0063409 |  | 0.78273 | 0.008084 | 0.2319 | 0.0023948
variance | 0.016267 | 1.687e-06 | 0.38183 | 4.0206e-05 |  | 0.61267 | 6.5351e-05 | 0.053777 | 5.7353e-06
RSD | 0.1299% | 0.02832% | 0.6316% | 0.1384% |  | 0.8064% | 0.1767% | 0.2396% | 0.05237%
directly from data (difference of mean values) | [7 empty] | from log data (quotient of mean values)
s (4-11) |  | 0.21061 |  | difference (4-10) | 1.0842 |  |  | s (4-11) |  | 0.0021697 |  | difference (4-10) | 0.011128
degrees of freedom (4-12) |  | 10.807 | nominator | 0.0019674 | denominator | 0.00018205 |  | degrees of freedom (4-12) |  | 10.7752 | nominator | 2.216e-11 | denominator | 2.0566e-12
t(1-alpha;v) |  | 1.8125 | [5 empty] | t(1-alpha;v) |  | 1.8125
LCL |  | 0.70245 | [5 empty] | LCL(ln) |  | 0.0071956
UCL |  | 1.4659 | [5 empty] | UCL(ln) |  | 0.01506
[8 empty] | LCL |  | 0.72215
[8 empty] | UCL |  | 1.5174 |  | difference of mean values
|  | AL: set (see Ermer et al, 4.4.3, point 1) |  |  |  |  | diagram data
|  | 2.5 |  |  |  | x | -2.5 | 2.5 | 0.70245 | 1.4659
[6 empty] | y | 1 | 1 | 1.5 | 1.5
quotient of mean values
diagram data
[7 empty] | -2.5 | 2.5 | 0.72215 | 1.5174
[7 empty] | 1 | 1 | 1.5 | 1.5
??=((??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) +(??_(??,1)^2)/(4∗??_(??,1) )+(??_(??,2)^2)/〖4∗??〗_(??,2) )^2/((??_(??,1)^4)/(〖16∗??〗_(??,1)^2 (??_(??,1)−1) )+(??_(??,2)^4)/(〖16∗??〗_(??,2)^2 (??_(??,2)−1) )+(??_(??,1)^4)/(〖16∗??〗_(??,1)^2 (??_(??,1)−1) )+(??_(??,2)^4)/(〖16∗??〗_(??,2)^2 (??_(??,2)−1) ))
??=√((??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) +(??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) )
????????=((??_1 ) ̅+(??_2 ) ̅)/2−((??_1 ) ̅ +(??_2 ) ̅)/2
????=(((??_1 ) ̅+(??_2 ) ̅ ))/2−(((??_1 ) ̅+(??_2 ) ̅ ))/2±??_(1−2∙??;??)∙??
??
??

## Ex1 EquivBalthasar
Lab personell A and B from Lab 1, C and D from Lab 2. Estimation of Confidence intervals according to J.P.Balthasar. Bioequivalence and Bioequivalency Testing. American Journal of Pharmaceutical Education. Vol. 194-198 (1999)
date | 2012-09-11 |  | 2012-09-11
lab | 1 |  | 2
LC content (%) as is, API
|  | ln |  | ln |  | difference | difference ln
1 A/C | 98.37 | 4.5887 | 97.84 | 4.5833 |  | 0.53 | 0.0054024
2 A/C | 98.11 | 4.5861 | 97.74 | 4.5823 |  | 0.37 | 0.0037784
3 A/C | 98.18 | 4.5868 | 96.51 | 4.5696 |  | 1.67 | 0.017156
4 A/C | 98.3 | 4.588 | 97.3 | 4.5778 |  | 1 | 0.010225
5 A/C | 98.24 | 4.5874 | 97.2 | 4.5768 |  | 1.04 | 0.010643
6 A/C | 98.02 | 4.5852 | 95.79 | 4.5622 |  | 2.23 | 0.023013
7 B /D | 97.94 | 4.5844 | 96.73 | 4.5719 |  | 1.21 | 0.012431
8 B /D | 98.42 | 4.5892 | 96.5 | 4.5695 |  | 1.92 | 0.019701
9 B /D | 98.11 | 4.5861 | 96.79 | 4.5725 |  | 1.32 | 0.013546
10 B /D | 98.06 | 4.5856 | 96.97 | 4.5744 |  | 1.09 | 0.011178
11 B /D | 97.79 | 4.5828 | 96.65 | 4.5711 |  | 1.14 | 0.011726
12 B /D | 96.64 | 4.571 | 97.15 | 4.5763 |  | -0.51 | -0.0052634
MW | 98.015 | 4.5851 | 96.9308 | 4.574 |  | 1.0842 | 0.011128
SD | 0.46866 | 0.0048066 | 0.56752 | 0.0058578 |  | 0.72594 | 0.0074804
variance | 0.21965 | 2.3104e-05 | 0.32208 | 3.4314e-05 |  | 0.52699 | 5.5957e-05
RSD | 0.4782% | 0.1048% | 0.5855% | 0.1281% |  | 66.96% | 67.22%
directly from data (difference of mean values) |  |  |  |  | from log data ( quotient of mean values)
t(1-alpha;n-1) | 1.7959 |  |  |  | t(1-alpha;n-1) |  | 1.7959
LCL | 0.70782 |  |  |  | LCL(ln) |  | 0.00725
UCL | 1.4605 |  |  |  | UCL(ln) |  | 0.015006
[5 empty] | LCL |  | 0.72763
[5 empty] | UCL |  | 1.5119

## Ex1 Schuirmann
Calculation according to Schuirmann, D.J. 1987. "A Comparison of the Two One-Sided Tests Procedure and the Power Approach for Assessing the Equivalence of Average Bioavailability." J. Pharm. Biopharm., 15: 657-680. The variance was estimated from the "mean square error (Anova)".
Standard deviation is |  |  | where s estimated as MSE from Anova, n is number of measurements pro labor
LC content (%) as is, API
|  | ln |  | ln
1 A/C | 98.37 | 4.5887 | 97.84 | 4.5833
2 A/C | 98.11 | 4.5861 | 97.74 | 4.5823
3 A/C | 98.18 | 4.5868 | 96.51 | 4.5696
4 A/C | 98.3 | 4.588 | 97.3 | 4.5778
5 A/C | 98.24 | 4.5874 | 97.2 | 4.5768
6 A/C | 98.02 | 4.5852 | 95.79 | 4.5622
7 B /D | 97.94 | 4.5844 | 96.73 | 4.5719
8 B /D | 98.42 | 4.5892 | 96.5 | 4.5695
9 B /D | 98.11 | 4.5861 | 96.79 | 4.5725
10 B /D | 98.06 | 4.5856 | 96.97 | 4.5744
11 B /D | 97.79 | 4.5828 | 96.65 | 4.5711
12 B /D | 96.64 | 4.571 | 97.15 | 4.5763
MW | 98.015 | 4.5851 | 96.9308 | 4.574
SD | 0.46866 | 0.0048066 | 0.56752 | 0.0058578
variance | 0.21965 | 2.3104e-05 | 0.32208 | 3.4314e-05
RSD | 0.4782% | 0.1048% | 0.5855% | 0.1281%
directly from data (difference of mean vvalues) |  |  |  |  | from log data ( quotient of mean values; Eq. 4-9)
difference |  | 1.0842 |  |  | difference | 0.011128
s |  | 0.52045 |  |  | s | 0.005358
degrees of freedom |  | 22 |  |  | degrees of freedom | 22
t(1-alpha;v) |  | 1.7171 |  |  | t(1-alpha;v) | 1.7171
LCL |  | 0.71932 |  |  | LCL(ln) | 0.0073719
UCL |  | 1.449 |  |  | UCL(ln) | 0.014884
[5 empty] | LCL | 0.73992
[5 empty] | UCL | 1.4995
AL: set (see Ermer et al, 4.4.3, point 1)
2.5 | [7 empty] | difference of mean values
diagram data
|  |  | x | -2.5 | 2.5 | 0.71932 | 1.449
|  |  | y | 1 | 1 | 1.5 | 1.5
|  |  |  | diagram data |  |  |  | quotient of mean values
|  |  | x | -2.5 | 2.5 | 0.73992 | 1.4995
|  |  | y | 1 | 1 | 1.5 | 1.5
s√(2/n)
??
??
??√(2/??)

## Ex2 Series Equiv.Test Welch
Calculation according to Schuirmann, D.J. 1987. "A Comparison of the Two One-Sided Tests Procedure and the Power Approach for Assessing the Equivalence of Average Bioavailability." J. Pharm. Biopharm., 15: 657-680. The variance was estimated from the "mean square error (Anova)".
For the case that the variance from the series are not equal: degrees of freedom where approximated by use the Welch- Satterthwaite-Approximation
person | A |  | B |  |  | C |  | D
date | 2012-09-11 |  | 2012-09-11 |  |  | 2012-09-13 |  | 2012-09-13
lab | 1 |  | 1 |  |  | 2 |  | 2 |  |  | Difference between means of labors
LC content (%) as is, API
|  | ln |  | ln |  |  | ln |  | ln
1 | 100.68 | 4.6119 | 99.85 | 4.6037 |  | 100.9 | 4.6141 | 99.84 | 4.6036
2 | 100.15 | 4.6067 | 100.08 | 4.606 |  | 100.32 | 4.6084 | 99.92 | 4.6044
3 | 100.91 | 4.6142 | 100.26 | 4.6078 |  | 100.24 | 4.6076 | 99.67 | 4.6019
4 | 100.29 | 4.6081 | 100.59 | 4.6111 |  | 100.45 | 4.6097 | 99.69 | 4.6021
5 | 100.47 | 4.6099 | 100.17 | 4.6069 |  | 99.42 | 4.5994 | 100.01 | 4.6053
6 | 100.08 | 4.606 | 100.68 | 4.6119 |  | 100.25 | 4.6077 | 100.08 | 4.606
MW | 100.43 | 4.6095 | 100.2717 | 4.6079 |  | 100.2633 | 4.6078 | 99.8683 | 4.6039
SD | 0.32094 | 0.0031938 | 0.31403 | 0.0031313 |  | 0.48069 | 0.0048014 | 0.16702 | 0.0016725
variance | 0.103 | 1.0201e-05 | 0.098617 | 9.805e-06 |  | 0.23107 | 2.3053e-05 | 0.027897 | 2.7972e-06
RSD | 0.3196% | 0.06929% | 0.3132% | 0.06796% |  | 0.4794% | 0.1042% | 0.1672% | 0.03633%
directly from data (difference of mean values) | [7 empty] | from log data (quotient of mean values)
s (4-11) |  | 0.13853 |  | difference (4-10) | 0.285 |  |  | s (4-11) |  | 0.0013823 |  | difference (4-10) | 0.0028469
degrees of freedom (4-12) |  | 14.2364 | nominator | 0.00036829 | denominator | 2.587e-05 |  | degrees of freedom (4-12) |  | 14.2182 | nominator | 3.6506e-12 | denominator | 2.5676e-13
t(1-alpha;v) |  | 1.7613 | [5 empty] | t(1-alpha;v) |  | 1.7613
LCL |  | 0.041004 | [5 empty] | LCL(ln) |  | 0.00041233
UCL |  | 0.529 | [5 empty] | UCL(ln) |  | 0.0052815
[8 empty] | LCL |  | 0.041241
[8 empty] | UCL |  | 0.52955 |  | difference of mean values
|  | AL: set (see Ermer et al, 4.4.3, point 1) |  |  |  |  | diagram data
|  | 2.5 |  |  |  | x | -2.5 | 2.5 | 0.041004 | 0.529
[6 empty] | y | 1 | 1 | 1.5 | 1.5
quotient of mean values
diagram data
[7 empty] | -2.5 | 2.5 | 0.041241 | 0.52955
[7 empty] | 1 | 1 | 1.5 | 1.5
??=((??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) +(??_(??,1)^2)/(4∗??_(??,1) )+(??_(??,2)^2)/〖4∗??〗_(??,2) )^2/((??_(??,1)^4)/(〖16∗??〗_(??,1)^2 (??_(??,1)−1) )+(??_(??,2)^4)/(〖16∗??〗_(??,2)^2 (??_(??,2)−1) )+(??_(??,1)^4)/(〖16∗??〗_(??,1)^2 (??_(??,1)−1) )+(??_(??,2)^4)/(〖16∗??〗_(??,2)^2 (??_(??,2)−1) ))
??=√((??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) +(??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) )
????????=((??_1 ) ̅+(??_2 ) ̅)/2−((??_1 ) ̅ +(??_2 ) ̅)/2
????=(((??_1 ) ̅+(??_2 ) ̅ ))/2−(((??_1 ) ̅+(??_2 ) ̅ ))/2±??_(1−2∙??;??)∙??
??
??

## Ex2 Schuirmann
Calculation according to Schuirmann, D.J. 1987. "A Comparison of the Two One-Sided Tests Procedure and the Power Approach for Assessing the Equivalence of Average Bioavailability." J. Pharm. Biopharm., 15: 657-680. The variance was estimated from the "mean square error (Anova)".
Standard deviation is |  |  | where s estimated as MSE from Anova, n is number of measurements pro labor
LC content (%) as is, API
|  | ln |  | ln
1 A/C | 100.68 | 4.6119 | 100.9 | 4.6141
2 A/C | 100.15 | 4.6067 | 100.32 | 4.6084
3 A/C | 100.91 | 4.6142 | 100.24 | 4.6076
4 A/C | 100.29 | 4.6081 | 100.45 | 4.6097
5 A/C | 100.47 | 4.6099 | 99.42 | 4.5994
6 A/C | 100.08 | 4.606 | 100.25 | 4.6077
7 B /D | 99.85 | 4.6037 | 99.84 | 4.6036
8 B /D | 100.08 | 4.606 | 99.92 | 4.6044
9 B /D | 100.26 | 4.6078 | 99.67 | 4.6019
10 B /D | 100.59 | 4.6111 | 99.69 | 4.6021
11 B /D | 100.17 | 4.6069 | 100.01 | 4.6053
12 B /D | 100.68 | 4.6119 | 100.08 | 4.606
MW | 100.3508 | 4.6087 | 100.0658 | 4.6058
SD | 0.31382 | 0.0031261 | 0.40033 | 0.0039977
variance | 0.098481 | 9.7722e-06 | 0.16026 | 1.5982e-05
RSD | 0.3127% | 0.06783% | 0.4001% | 0.0868%
directly from data (difference of mean vvalues) |  |  |  |  | from log data ( quotient of mean values; Eq. 4-9)
difference |  | 0.285 |  |  | difference | 0.0028469
s |  | 0.35968 |  |  | s | 0.0035884
degrees of freedom |  | 22 |  |  | degrees of freedom | 22
t(1-alpha;v) |  | 1.7171 |  |  | t(1-alpha;v) | 1.7171
LCL |  | 0.032854 |  |  | LCL(ln) | 0.00033135
UCL |  | 0.53715 |  |  | UCL(ln) | 0.0053625
[5 empty] | LCL | 0.033141
[5 empty] | UCL | 0.53769
AL: set (see Ermer et al, 4.4.3, point 1)
2.5 | [7 empty] | difference of mean values
diagram data
|  |  | x | -2.5 | 2.5 | 0.032854 | 0.53715
|  |  | y | 1 | 1 | 1.5 | 1.5
|  |  |  | diagram data |  |  |  | quotient of mean values
|  |  | x | -2.5 | 2.5 | 0.033141 | 0.53769
|  |  | y | 1 | 1 | 1.5 | 1.5
s√(2/n)
??
??
??√(2/??)

## Ex3 Series Equiv.Test Welch
Calculation according to Schuirmann, D.J. 1987. "A Comparison of the Two One-Sided Tests Procedure and the Power Approach for Assessing the Equivalence of Average Bioavailability." J. Pharm. Biopharm., 15: 657-680. The variance was estimated from the "mean square error (Anova)".
For the case that the variance from the series are not equal: degrees of freedom where approximated by use the Welch- Satterthwaite-Approximation
person | A |  | B |  |  | C |  | D
date | 2012-09-11 |  | 2012-09-11 |  |  | 2012-09-13 |  | 2012-09-13
lab | 1 |  | 1 |  |  | 2 |  | 2 |  |  | Difference between means of labors
LC content (%) as is, API
|  | ln |  | ln |  |  | ln |  | ln
1 | 99.47 | 4.5999 | 99.79 | 4.6031 |  | 99.95 | 4.6047 | 99.42 | 4.5994
2 | 99.62 | 4.6014 | 99.74 | 4.6026 |  | 99.92 | 4.6044 | 99.34 | 4.5985
3 | 99.37 | 4.5989 | 99.58 | 4.601 |  | 100.04 | 4.6056 | 99.53 | 4.6005
4 | 99.31 | 4.5982 | 99.75 | 4.6027 |  | 99.89 | 4.6041 | 98.82 | 4.5933
5 | 99.53 | 4.6005 | 99.54 | 4.6006 |  | 99.83 | 4.6035 | 99.38 | 4.599
6 | 100.21 | 4.6073 | 99.62 | 4.6014 |  | 99.81 | 4.6033 | 99.42 | 4.5994
MW | 99.585 | 4.601 | 99.67 | 4.6019 |  | 99.9067 | 4.6042 | 99.3183 | 4.5983
SD | 0.32556 | 0.0032627 | 0.10315 | 0.001035 |  | 0.084063 | 0.00084129 | 0.25222 | 0.0025441
variance | 0.10599 | 1.0645e-05 | 0.01064 | 1.0712e-06 |  | 0.0070667 | 7.0777e-07 | 0.063617 | 6.4723e-06
RSD | 0.3269% | 0.07091% | 0.1035% | 0.02249% |  | 0.08414% | 0.01827% | 0.254% | 0.05533%
directly from data (difference of mean values) | [7 empty] | from log data (quotient of mean values)
s (4-11) |  | 0.088344 |  | difference (4-10) | 0.015 |  |  | s (4-11) |  | 0.00088732 |  | difference (4-10) | 0.00015389
degrees of freedom (4-12) |  | 11.3591 | nominator | 6.0914e-05 | denominator | 5.3625e-06 |  | degrees of freedom (4-12) |  | 11.3821 | nominator | 6.199e-13 | denominator | 5.4463e-14
t(1-alpha;v) |  | 1.7959 | [5 empty] | t(1-alpha;v) |  | 1.7959
LCL |  | -0.14366 | [5 empty] | LCL(ln) |  | -0.0014396
UCL |  | 0.17366 | [5 empty] | UCL(ln) |  | 0.0017474
[8 empty] | LCL |  | -0.14386
[8 empty] | UCL |  | 0.17489 |  | difference of mean values
|  | AL: set (see Ermer et al, 4.4.3, point 1) |  |  |  |  | diagram data
|  | 2.5 |  |  |  | x | -2.5 | 2.5 | -0.14366 | 0.17366
[6 empty] | y | 1 | 1 | 1.5 | 1.5
quotient of mean values
diagram data
[7 empty] | -2.5 | 2.5 | -0.14386 | 0.17489
[7 empty] | 1 | 1 | 1.5 | 1.5
??=((??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) +(??_(??,1)^2)/(4∗??_(??,1) )+(??_(??,2)^2)/〖4∗??〗_(??,2) )^2/((??_(??,1)^4)/(〖16∗??〗_(??,1)^2 (??_(??,1)−1) )+(??_(??,2)^4)/(〖16∗??〗_(??,2)^2 (??_(??,2)−1) )+(??_(??,1)^4)/(〖16∗??〗_(??,1)^2 (??_(??,1)−1) )+(??_(??,2)^4)/(〖16∗??〗_(??,2)^2 (??_(??,2)−1) ))
??=√((??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) +(??_(??,1)^2)/〖4∗??〗_(??,1) +(??_(??,2)^2)/〖4∗??〗_(??,2) )
????????=((??_1 ) ̅+(??_2 ) ̅)/2−((??_1 ) ̅ +(??_2 ) ̅)/2
????=(((??_1 ) ̅+(??_2 ) ̅ ))/2−(((??_1 ) ̅+(??_2 ) ̅ ))/2±??_(1−2∙??;??)∙??
??
??

## Ex3 Schuirmann
Calculation according to Schuirmann, D.J. 1987. "A Comparison of the Two One-Sided Tests Procedure and the Power Approach for Assessing the Equivalence of Average Bioavailability." J. Pharm. Biopharm., 15: 657-680. The variance was estimated from the "mean square error (Anova)".
Standard deviation is |  |  | where s estimated as MSE from Anova, n is number of measurements pro labor
LC content (%) as is, API
|  | ln |  | ln
1 A/C | 99.47 | 4.5999 | 99.95 | 4.6047
2 A/C | 99.62 | 4.6014 | 99.92 | 4.6044
3 A/C | 99.37 | 4.5989 | 100.04 | 4.6056
4 A/C | 99.31 | 4.5982 | 99.89 | 4.6041
5 A/C | 99.53 | 4.6005 | 99.83 | 4.6035
6 A/C | 100.21 | 4.6073 | 99.81 | 4.6033
7 B /D | 99.79 | 4.6031 | 99.42 | 4.5994
8 B /D | 99.74 | 4.6026 | 99.34 | 4.5985
9 B /D | 99.58 | 4.601 | 99.53 | 4.6005
10 B /D | 99.75 | 4.6027 | 98.82 | 4.5933
11 B /D | 99.54 | 4.6006 | 99.38 | 4.599
12 B /D | 99.62 | 4.6014 | 99.42 | 4.5994
MW | 99.6275 | 4.6014 | 99.6125 | 4.6013
SD | 0.23449 | 0.0023507 | 0.35571 | 0.0035756
variance | 0.054984 | 5.5259e-06 | 0.12653 | 1.2785e-05
RSD | 0.2354% | 0.05109% | 0.3571% | 0.07771%
directly from data (difference of mean vvalues) |  |  |  |  | from log data ( quotient of mean values; Eq. 4-9)
difference |  | 0.015 |  |  | difference | 0.00015389
s |  | 0.30126 |  |  | s | 0.0030258
degrees of freedom |  | 22 |  |  | degrees of freedom | 22
t(1-alpha;v) |  | 1.7171 |  |  | t(1-alpha;v) | 1.7171
LCL |  | -0.19619 |  |  | LCL(ln) | -0.0019673
UCL |  | 0.22619 |  |  | UCL(ln) | 0.002275
[5 empty] | LCL | -0.19653
[5 empty] | UCL | 0.22776
AL: set (see Ermer et al, 4.4.3, point 1)
2.5 | [7 empty] | difference of mean values
diagram data
|  |  | x | -2.5 | 2.5 | -0.19619 | 0.22619
|  |  | y | 1 | 1 | 1.5 | 1.5
|  |  |  | diagram data |  |  |  | quotient of mean values
|  |  | x | -2.5 | 2.5 | -0.19653 | 0.22776
|  |  | y | 1 | 1 | 1.5 | 1.5
s√(2/n)
??
??
??√(2/??)